## PTI-PN devices
PTI particle counters
Date | 2022-04-08
Number | Trademark | Manufacturer | Manufacturer | Type | Country | Certification | Counter type | Sample system | Gasoline prepared | Measuring range | Dilution ratio | Power supply | Website manufacturer | Website Dutch supplier
|  | device | measuring cell |  | certification | year (number) | DC/CPC |  |  | [#/cm^3] | [-]
1 | TSI | TSI | TSI | 3795 (NPET-l) | S | 2015 | CPC | Dilution | Yes | 5.000 to 5.000.000 | 10 | Fixed 230 V AC | Nanoparticle Emission Tester Model 3795 ¦ TSI | www.jjbosbv.nl
2 | TSI | TSI | TSI | 3795 (NPET-h) | S | 2016 | CPC | Dilution | Yes | 50.000 to 50.000.000 | 100 | Fixed 230 V AC | Nanoparticle Emission Tester Model 3795 ¦ TSI | www.jjbosbv.nl
3 | TSI | TSI | TSI | APET | - | - | CPC | Dilution | Yes | 5.000 to 10.000.000 | 20 | Battery package | - | -
4 | TEN | TEN | TEN | AEM | NL | 2020 (T8966) | DC | Heated sample line | No | 5.000 to 5.000.000 | 1 | Fixed 230 V AC | ¦ Test Equipment Nederland bv (ten-automotive.com) | ¦ Test Equipment Nederland bv (ten-automotive.com)
5 | VLT | TEN | TEN | E9700 | NL | 2020 (T8967) | DC | Heated sample line | No | 5.000 to 5.000.000 | 1 | Fixed 230 V AC | VLT-E9700 Emissie Deeltjesteller (Diesel) ¦ Autec-VLT (vltest.nl) | VLT-E9700 Emissie Deeltjesteller (Diesel) ¦ Autec-VLT (vltest.nl)
6 | Saarloos | TEN | TEN | DPC | NL | 2021 (T8976) | DC | Heated sample line | No | 5.000 to 5.000.000 | 1 | Fixed 230 V AC | Saarloos deeltjesteller - Uitlaatgastesters - Saarloos Automotive Equipment | Saarloos deeltjesteller - Uitlaatgastesters - Saarloos Automotive Equipment
7 | Capelec | Capelec | Pegasor | CAP3070 | NL | 2021 (T8986) | DC | Heated sample line | No | 5.000 to 5.000.000 | 1 | Fixed 230 V AC | Particulate Measuring Equipment for Diesel Vehicle PTI (capelec.fr) | www.jntestapparatuur.nl/deeltjesteller/
8 | AVL-DiTest | AVL-DiTest | AVL | Counter | NL | 2021 (T8985) | DC | Heated sample line | No | 1.000 to 10.000.000 | 1 | Fixed 230 V AC | COUNTER - AVL DITEST – vehicle diagnostics | www.deeltjesteller.com
9 | Continental | Capelec | Pegasor | DX 280 DC | NL | 2022 (T8987) | DC | Heated sample line | No | 5.000 to 5.000.001 | 1 | Fixed 230 V AC | Emissions Analysers ¦ Crypton (cryptontechnology.com) | www.aa-equipment.nl/merken/continental/deeltjesteller
10 | Saxon Junkalor | Saxon Junkalor | Knestel | 500 | NL | 2022 (T8989) | DC | Non heated sample line | No | 5.000 to 5.000.000 | 1 | Fixed 230 V AC | www.saxon-junkalor.de | www.arex.nl
11 | TEXA | TEXA | ? | NP 01 | NL | 2022 (T) | DC | Dilution | ? | 5.000 to 5.000.000 | ? | Fixed 230 V AC | Vehicle diagnostics, A/C system maintenance, exhaust gas analysis (texa.com) | www.deeltjesteller.com
12 | Mahle | Mahle | Sensors | PMU 400 | NL | 2022 (T9001) | CPC | Heated sample line | Yes | 5.000 to 50.000.000 | 200 | Fixed 230 V AC | MAHLE MPULSE Mobility Magazine ¦ PARTICLE MEASUREMENT WITH EMISSIONPRO® PMU 400 | CBX Nederland - MAHLE PMU 400 (cbx-nederland.nl)
13 | Brainbee | Mahle | Sensors | PMU-400 | NL | 2022 (T9002) | CPC | Heated sample line | Yes | 5.000 to 50.000.000 | 200 | Fixed 230 V AC |  | BrainBee PMU-400 roetdeeltjesteller - Rocar-Tech Garage Equipment B.V. (rocartech.nl)
14 | MAHA | AVL-DiTest | AVL | MET | NL | tbd | DC | Heated sample line | No | 1.000 to 10.000.000 | 1 | Fixed 230 V AC | www.maha.de | www.deeltjesteller.com
15 | Bosch | Bosch | ? | BEA 090 | ? | tbd | CPC | Heated sample line | ? | ? | ? | Fixed 230 V AC | https://www.boschaftermarket.com/de/de/services-und-support/news-und-downloads/news-artikel/partikelzaehlung.html
16 | Assemblad | Assemblad | ? | PRT 121 | ? | tbd | DC | ? | No | 5.000 to 5.000.000 | ? | Fixed 230 V AC | DIAGNOSTIC EQUIPMENT (assemblad.it)
17 | Hella Gutmann | TEN | TEN | HG4-PCK | ? | tbd | DC | Heated sample line | No | 5.000 to 5.000.000 | 1 | Fixed 230 V AC | https://www.hella.com/techworld/de/Werkstattausruestung/Abgaspruefung-8191/
18 | WOW | WOW | ? | WPA | ? | tbd | DC | ? |  |  |  | Fixed 230 V AC | Abgasmessgeräte (wow-portal.com)
19 | Sensors | Sensors | Sensors | APA | ? | tbd | CPC | ? | Yes | 5.000 to 5.000.000 | 200 | Fixed 230 V AC | https://sensors-inc.com/Products/Inspection_Maintenance/APA
101 | - | - | Dekati | ePNC | - | - | DC | tbd | tbd | 5.000 to 15.000.000 | 1 | 9 V DC | Particle counter sensor designed for easy integration in PTI devices (dekatitechnologies.com)
102 | - | - | Pegasor | ExTDC | - | - | DC | Heated sample line | tbd | 5.000 to 5.000.000 | 1 | Fixed 230 V AC | www.pegasor.fi/products/particle-counter
103 | - | - | Sensors | APB | - | - | CPC | tbd | tbd | 0 to 20.000 | 1 | 12 V DC | https://sensors-inc.com/Products/Inspection_Maintenance/APB
104 | - | - | Knestel | Sensormodule | - | - | DC | tbd | tbd | 5.000 to 5.000.000 | 1 | 24 V DC | Partikelzählung ¦ KNESTEL Technologie & Elektronik
Note on H5: Gerrit Kadijk: DC = Diffusion Charging CPC = Condensation Particle Counter